## Slide 1: Modeling Electromagnetic Fields
An Application in MRI Kirsten Koolstra
April 22nd, 2015

## Slide 2: Introduction
Magnetic Resonance Imaging (MRI)

## Slide 3: Introduction
RF Interference in MRI

## Slide 5: Introduction
The Effect of Dielectric Pads

## Slide 6: Introduction
Without pad
With pad
With pad
Without pad
The Effect of Dielectric Pads

## Slide 7: Introduction
Design Procedure: Numerical Modeling

## Slide 8: Challenges
Strong (localised) inhomogeneities in medium parameters
Large computational domain due to the body model
Accurate for low resolution!
Fast!
Take into account the boundary conditions

## Slide 9: The Volume Integral Equation (VIE)

## Slide 10: Different Formulations
EVIE:
DVIE:
JVIE:

## Slide 11: The Method of Moments
Derive weak form .
Define a mesh.
Expand the unknown through basis functions
Choose test functions .
Calculate/approximate the integrals.
Define the discretised system

## Slide 12: Test Functions
Callocation Method:
Galerkin’s Method:

## Slide 13: Basis Functions
Rooftop

## Slide 14: Basis Functions

## Slide 15: A Closer Look
EVIE:
DVIE:
JVIE:
EVIE Formulation

## Slide 16: A Closer Look
TE-polarisation
Scattering on a Two-Layered Cylinder

## Slide 17: A Closer Look
Scattering on a Two-Layered Cylinder

## Slide 18: Some Observations
Contrast: Low contrast vs high contrast
Basis functions: Rooftop vs 2 x linear
Geometry: Cylinder vs square

## Slide 19: Observation 1
Low Contrast vs High Contrast

## Slide 20: Observation 1
Low Contrast vs High Contrast

## Slide 21: Observation 2
Rooftop Expansion vs Linear Expansion

## Slide 22: Observation 2
Rooftop Expansion vs Linear Expansion

## Slide 23: Observation 3
Two-Layered Cylinder vs Two-Layered Square

## Slide 24: Observation 3
Two-Layered Cylinder vs Two-Layered Square

## Slide 25: What is the cause of these jumps?
Basis functions?
Formulation?
Geometry?

## Slide 26: Approach
Compare the EVIE formulation with the DVIE and JVIE formulations.
Analysing contrast dependency.
Find out what happens for different geometries.
Compare the performance of GMRES and IDR(s) methods.
Accurately
Fast

## Slide 27: Function Spaces
EVIE:
DVIE: JVIE:
where