## Slide 1: Modeling Electromagnetic Fields in Strongly Inhomogeneous Media
An Application in MRI
Kirsten Koolstra, September 24th, 2015

## Slide 2
Introduction
Magnetic Resonance Imaging (MRI)
www.neurensics.com/technische-specificaties

## Slide 3: Introduction
RF Interference in MRI
Brink et al., JMRI (2015)

## Slide 5: Introduction
The Effect of Dielectric Pads
De Heer et al., Magn Res Med (2012)

## Slide 6: Introduction
Without pad
With pad
With pad
Without pad
The Effect of Dielectric Pads
De Heer et al., Magn Res Med (2012)
Brink et al., Invest Rad (2014)

## Slide 7: Introduction
Design Procedure: Numerical Modeling
Brink and Webb, Magn Res Med (2013)

## Slide 8: Challenges
Strong (localized) inhomogeneities in medium parameters
Large computational domain due to the body model
Accurate for low resolution!
Fast!
Take into account the boundary conditions
In Numerical Modeling

## Slide 9: Goal
Obtain a solution that is
1. accurate 2. obtained within short computation time
Approach:
Compare different discretization schemes for a simple test case
Compare two iterative solvers, GMRES and IDR(s), to solve the discretized system
Verify the results by performing human body simulations

## Slide 10: The Volume Integral Equation

## Slide 11: Different Formulations
EVIE:
DVIE:

## Slide 12: The Volume Integral Equation
The - and -components of the electric field are coupled via the operator.
The vector potential depends on the material parameters.

## Slide 13: The Method of Moments

## Slide 14: The Method of Moments
Approximation of a Function
6
8
1. Specify
2. Find for all
3. Reconstruct
Notes: "Type equation here."

## Slide 15: The Method of Moments
Expansions

## Slide 16: The Method of Moments
Expansions
is solved via expanding

## Slide 17: The Method of Moments
Expansions
is solved via expanding

## Slide 18: The Method of Moments
Expansions
How do we incorporate the operator in the matrix ?
How do we deal with the derivative terms?

## Slide 19: The Method of Moments
Fast Fourier Transform
Remember,
And
So, use fast Fourier transform (FFT) algorithms to incorporate in the matrix !

## Slide 20: The Method of Moments
Expansions
How do we incorporate the operator in the matrix ?
How do we deal with the derivative terms?

## Slide 21: The Method of Moments
Basis Functions: Rooftop

## Slide 22: The Method of Moments
Expansions
How do we incorporate the operator in the matrix ?
How do we deal with the derivative terms?

## Slide 23: Central Difference Schemes
On staggered and non-staggered grids
Non-staggered grid
Staggered grid

## Slide 24: Central Difference Schemes
On staggered and non-staggered grids
Non-staggered grid
Staggered grid

## Slide 25: Benchmark Problem
TE-polarization
Plane wave incident field
Muscle/fat tissue
Scattering on a Two-Layer Conducting Cylinder

## Slide 26: Recap
Equations:
Method:
Benchmark Problem:
The Ingredients
Model

## Slide 27: Results
Scattering on a Two-Layer Conducting Cylinder

## Slide 28: Results
Comparison of EVIE and DVIE

## Slide 29: Results
Scattering on a Two-Layer Conducting Cylinder

## Slide 30: Scattering on a Circle vs Square

## Slide 31: Results
Circle
Square
Scattering on a Circle vs on a Square

## Slide 32: Central Difference Schemes
Staggered
Non-Staggered
2nd order scheme
4th order scheme

## Slide 33: Results
Global Error Propagation

## Slide 34: Error Reduction
Original
With smoothing
Smoothing the Contrast

## Slide 35: Results
Original
Smoothed
The Effect of Smoothing the Contrast

## Slide 36: Results
Original
With smoothing
The Effect of Smoothing along the Axes

## Slide 37: Overview
Method of Moments
Iterative Solver
Finding a Solution
?

## Slide 38: Properties of the Iterative Solver
Comparison of GMRES and IDR(s)
iteration number
number of unknowns
 | GMRES | IDR(s)
Iterations until convergence |  | 
Work per iteration |  | 
 | GMRES | IDR(s)
Iterations until convergence |  | 
Work per iteration |  | 
Notes: Applicable for non-symmetric systems
Krylov subspace method

## Slide 39: Properties of the Iterative Solver
Comparison of GMRES and IDR(s)
iteration number
number of unknowns
 | GMRES | IDR(s)
Iterations until convergence |  | 
Work per iteration |  | 
 | GMRES | IDR(s)
Iterations until convergence |  | 
Work per iteration |  | 
Notes: Applicable for non-symmetric systems
Krylov subspace method

## Slide 40: Properties of the Iterative Solver
Comparison of GMRES and IDR(s)
iteration number
number of unknowns
 | GMRES | IDR(s)
Iterations until convergence |  | 
Work per iteration |  | 
 | GMRES | IDR(s)
Iterations until convergence |  | 
Work per iteration |  | 
Notes: Applicable for non-symmetric systems
Krylov subspace method

## Slide 41: Results
GMRES
IDR(s)
Comparison of GMRES and IDR(s)

## Slide 42: Human Body Simulations
Scattering on a Human Body with Dielectric Pad

## Slide 43: Human Body Simulations
High resolution
Staggered grid
Non-staggered grid
Comparison of the staggered and non-staggered grid
Low resolution
Low resolution

## Slide 44: Conclusions
Factors that influence the accuracy are the geometry and the mixed derivative terms.
Smoothing improves the geometrical inaccuracies with the cost of computation time.
The mixed derivative term has a large effect on the accuracy and is best approximated on a staggered grid.
IDR(s) reduces the computation time considerably.
Human body simulations are in agreement with the cylider test case simulations: the DVIE method on a staggered grid results in the most accurate solution on low resolution.

## Slide 45: Abstract
Modeling electromagnetic fields in MRI involves two main challenges: the solution has to be accurate and it has to be obtained within short computation time. The method of moments is used to discretize different formulations of the volume integral equation corresponding to Maxwell's equations. The good performance of a staggered grid with respect to a non-staggered grid shows that the way of treating the mixed derivative terms is of great importance. The performance of a higher order derivative scheme on a non-staggered grid is close to the performance of a staggered grid. IDR(s) shows excellent performance in reducing the computation time that is obtained with GMRES.

## Slide 46: Function Spaces
EVIE:
DVIE: JVIE:
where

## Slide 47: Simulation Parameters

## Slide 48: Computation Times

## Slide 49: Convergence

## Slide 50: Contrast Dependence

## Slide 51: Smoothing the Contrast
A Matlab Filter

## Slide 52: The Electric Fields

## Slide 53: The Electric Fields

## Slide 54: Scattering on a Two-Layer Cylinder
Low Resolution Results

## Slide 55: The Electric Fields
Scattering on a Square-Shaped Object