## Slide 1: Numerical Methods for Power Networks
Kees Vuik, Scientific Computing
TU Delft
The mathematics of future energy systems
CWI, June 6, 2016

## Slide 2: Content
Fast solvers for load flow problems
Robust transient simulators
Security assessment
Prediction of stresses in the network
Regional Energy Self-Sufficiency

## Slide 3: Motivation

## Slide 4: Future

## Slide 5: What is a smart grid?
Energy flow in two directions
Information flow in two directions

## Slide 6: Transport grid

## Slide 7: Distribution grid

## Slide 8: Combined grid

## Slide 9: Future system
large: European study (UCTE) model with 10,000+ nodes
bi-directional: market mechanisms
uncertainty: time-variable production by renewables
operated closer to limits: electrical vehicle charging

## Slide 10: Fast solvers for load flow problems
Thesis Reijer Idema
Collaborators: Reijer Idema, Domenico Lahaye, Lou van der Sluis, Kees Vuik

## Slide 11: Software used
Matlab
Matpower
PETSc (Portable, Extensible Toolkit for Scientific Computation)

## Slide 12: Power system failure

## Slide 13: Load Flow Equations
x: voltage amplitude and phase at each node in network
F(x) = 0: non-linear system matching generation with demand
Jx= F : linear system at i-th Newton iteration
in the past solved by direct methods
currently solved approximately by ILU/GMRES
implemented in PETSc

## Slide 14: Power flow test cases

## Slide 15: Results

## Slide 16: Monograph

## Slide 17: Robust transient simulators
Thesis Romain Thomas
Collaborators: Romain Thomas, Domenico Lahaye, Lou van der Sluis, Kees Vuik

## Slide 22: Security assessment
Thesis Martijn de Jong
Collaborators: Martijn de Jong, Domenico Lahaye, Lou van der Sluis, Kees Vuik

## Slide 23: Introduction
Goal of our work: to develop tools for TSOs to assess the risk in the future power system (Umbrella Project).
At TU Delft we develop:
Accurate tools based on MC sampling, copula theory and
full AC power flow;
Robust and fast (parallel) iterative solvers.
We show:
A detailed modelling of both load forecast uncertainty and
correlation between system inputs is very important;
Voltage problems heavily contribute to the system risk;
tools that rely on DC computations are inaccurate;
Our tools are fast and can be used by TSOs for online (or
close-to-online) risk assessment.

## Slide 24: Methodology
See flowchart. Properties:
Complex stochasticity of load
captured by Monte-Carlo
sampling and copula theory;
Full AC PF computations for
highest accuracy;
Cascading mechanism;
Two tools:
1 Fast screening tool I: based
on "severity functions";
2 Detailed analysis tool II:
based on extended AC OPF
(re-dispatching / load
shedding).

## Slide 29: Prediction of stresses in the network
Thesis Balja Sereeter
Collaborators: Balja Sereeter, Cees Witteveen, Kees Vuik

## Slide 31: Transmission network

## Slide 34: Results

## Slide 35: Distribution network

## Slide 38: Results

## Slide 39: Regional Energy Self-Sufficiency
Thesis ???
Collaborators: ??? , Johan Romate, Kees Vuik

## Slide 41: Formulation of the main goal(s) of the project

## Slide 45: Questions